## Slide 1
Project Coordination and Cast Iron Pipe Replacement Process
September 23, 2025

## Slide 2
Agenda
Cast Iron Program
Why Cut New Pavement?
TPW and Water Projects
Project Initiation Process
Transportation and Public Works Initiated
Scope of Work and Funding Breakdown
Water Department Initiated
Capital Project Coordination

## Slide 3: Project Initiation Process

## Slide 4: Water Department Initiated Projects
Water Department develops projects based on:
  Break history
  Maintenance records
  Age of the line
  Pipe material
  Capacity issues (Master Plan Analysis, Hydraulic Studies)
  Dead-end lines
  Necessary relocations
  Regulatory compliance with TCEQ Sanitary Sewer Overflow Initiative (Applicable to Sewer Projects Only)
Water Department shares list of proposed projects

## Slide 5
  Transportation and Public Works Initiated Projects
TPW develops projects based on:
  Pavement Condition Index
  Type of water line
    PVC – Maintenance Program Eligible
    Cast Iron – 50/50 and Bond Program Eligible
  Curb and gutter condition
    Good – Maintenance and 50/50 Program Eligible
    Failed – Bond Program Eligible
  Maintenance records
  Community Input
  Refer to June 6, 2025, Budget Work Session Presentation for additional details
TPW shares list of proposed projects

## Slide 6: Scope of work and funding breakdown

## Slide 7
Scope of work and funding breakdown
TPW Initiated Projects:
Maintenance program project
TPW: 100% of pavement preservation or rehabilitation
  Minimal curb, gutter, driveways, and sidewalks
Inside bond program project limits
TPW: 100% pavement reconstruction, curb, gutter, driveways, and sidewalks
Water Dept: 100% water & sewer improvements
Outside bond program project limits
Water Dept: 100% water, sewer, and street rehabilitation only
  Excludes: curb, gutter, driveways, and sidewalks
Water Department Initiated Projects:
  Water Dept: 100% water & sewer improvements
  TPW: 50% paving cost (up to $3.5M/year)
  After TPW $3.5M is Exhausted:
    Water Dept may fund full paving
    Excludes: curb, gutter, driveways, and sidewalks
Notes: Mention what pavement preservation (crack sealing, surface coat) and rehabilitation/paving (MOL and POL) is and annual budget
Discuss how reconstruction is different from rehabilitiation

## Slide 8: Capital project coordination

## Slide 9
  Capital Project Coordination
Collaboration & Planning
  Shared project list: Water, TPW, PARD, and Development Services
  Design reviews at 30%, 60%, and 90% milestones
  Early conflict resolution and design alignment
Tools & Integration
  Cross-departmental coordination checklist
  Projects mapped in GIS
  Scopes consolidated when priorities align
Streamlined Delivery
  One engineering agreement
  One construction contract

## Slide 10: Cast iron program

## Slide 11
  Cast Iron Pipe Locations
Total 4059 miles of Water Main in the City
There are 730 miles of cast iron pipe (18%) in the system
  Large Diameter: 58 miles
  Small Diameter: 672 miles
Historically, 85% of water system breaks occur on cast iron pipe

## Slide 12
Pipe Size Diameter | Percent Reduction (By 2030)
16” | 28%
20” | 56%
24” | 56%
30” | 65%
36” | 63%
  Cast Iron Large Diameter Pipe Projects
FY2020
to FY2030
 | Existing Cast Iron (miles) | Design/ Construction (miles) | Remaining in System (miles)
Large Diameter (16” or Greater) | 58 | 25 | 33
18 Large Diameter Projects

## Slide 13
  Cast Iron Small Diameter Pipe Projects
FY2020
to FY2030
 | Existing Cast Iron (miles) | Design/ Construction (miles) | Remaining in System (miles)
Small Diameter (12” or Smaller) | 672 | 180 | 492

## Slide 14
  Large and Small Diameter Cast Iron Pipe Summary
 | Existing Cast Iron (miles) | Design/ Construction (miles) | Remaining in System (miles)
Large Diameter (16” or Greater) | 58 | 25 | 33
Small Diameter (12” or Smaller) | 672 | 180 | 492
Total | 730 | 205 | 525
FY2020
to FY2030

## Slide 15
  Total Miles of Water Cast Iron Pipe per Council District
14%
17%
0.2%
10%
2%
6%
15%
18%
1%
19%

## Slide 16
  Cast Iron Program Initiative
The big storm in winter 2021 caused over 700 cast iron pipe breaks
Water Department established the Cast Iron replacement program with a goal of 20 miles a year
Lancaster/Collier 30” transmission main break highlighted the risk to the water system from a cast iron transmission main break

## Slide 17
  Why Cut New Pavement?
Developer / Redeveloper Needs (taps, service lines, water demand, CFA requirements, redevelopment)
Maintenance Needs (field operation repairs of breaks and leaks)
Waterline relocation to the street due to franchise utility conflicts
Water Dept previously cleared TPW Pavement Projects prior to 2021 Cast Iron Program initiated after 2021 Winter Storm
  7th St, Hemphill and Downtown
  Lancaster 30" Transmission Main Break

## Slide 18
  Thank you!