## CIP Projects
Building | Project Description | Cost
Community Arts Center | Fund Transfer for Winter Storm 2021 | 133244.24

## Work Order
BldgName | WO NUM | Date | Requested Work | Completion Date
Leased Property Community Arts Center
| 140131 | 2004-10-18 | ADD ELECTRICAL OUTLETS AS REQUIRED TO ELIMINATE EXTENTION CORDS | 2004-10-20
| 140132 | 2004-10-18 | CPA OPEN DRAINS IN OFFICE, INDIRECT WASTE W/AIR GAP ON DW,VACUUM BRK ON HOSE BIBBS, MOP SINK, SEE ATTACHED EMAIL FOR OTHERS. | 2004-10-21
| 140197 | 2004-10-26 | CHANGE DOOR SWING | 2004-10-26
| 142902 | 2005-08-01 | CHECK COOLING TOWER & CHILLER REPAIR | 2005-08-03
| 143534 | 2005-09-30 | CHECK ON EXCESSIVE WATER USE | 2005-09-30
| 150215 | 2005-10-26 | CHILLER LEAKING--VOID SEE WO 350031 | 2005-10-26
| 150560 | 2005-11-14 | REPLACE EXPANSION VALVES ON CARRIER CHILLER | 2005-12-01
| 150594 | 2005-12-03 | REPAIR BROKEN PIPE | 2005-12-03
| 150632 | 2005-12-12 | COOLING TOWER: WATER POURING OUT | 2005-12-12
| 151108 | 2006-02-01 | A/C INOP | 2006-02-01
| 151119 | 2006-02-02 | REPAIR CHILLER STARTER--VOID--VOID | 2006-02-02
| 151161 | 2006-02-01 | REPAIR CHILLER | 2006-02-01
| 151405 | 2006-02-28 | ROOF LEAK | 2006-02-28
| 151423 | 2006-03-01 | REPAIR ROOF DRAINS | 2006-03-02
| 151511 | 2006-03-08 | REPAIR CHILL WATER VALVE ON UNIT #9 | 2006-03-08
| 151562 | 2006-03-14 | CHECK ELECTRICAL DUE TO FIRE | 2006-03-14
| 151577 | 2006-03-13 | REPLACE PUMP MOTOR | 2006-03-14
| 151695 | 2006-03-27 | REPAIR ROOF DRAINS | 2006-03-27
| 151791 | 2006-04-06 | LOCATE TRIPPED BREAKER | 2006-04-06
| 151830 | 2006-04-12 | CHECK ROOF LEAK | 2006-04-13
| 151953 | 2006-04-25 | EXPANSION JOINTS | 2006-04-25
| 152020 | 2006-05-03 | A/C INOP/WATER LEAK | 2006-05-03
| 152069 | 2006-05-09 | CLEAN/REPAIR COOLING TOWER | 2006-05-09
| 152176 | 2006-05-19 | CHILLER INOP | 2006-05-19
| 152378 | 2006-06-12 | REPAIR ELECTRICAL | 2006-06-14
| 152897 | 2006-07-31 | A/C INOP | 2006-07-31
| 152898 | 2006-07-31 | REPAIR WATER LINE TO COOLING TOWER | 2006-07-31
| 153056 | 2006-08-18 | ADD OIL TO PURGE COMPRESSOR ON CHILLER #1 | 2006-08-18
| 153096 | 2006-08-24 | PURCHASE CONDENSER FAN BLADE & MOTOR | 2006-08-24
| 153246 | 2006-09-12 | CHECK AIR FLOW | 2006-09-12
| 153271 | 2006-08-21 | CHILL WATER PUMP #3 INOP | 2006-08-21
| 153272 | 2006-08-24 | COND WATER PUMP #3 INOP - BROKEN COUPLER | 2006-08-24
| 153273 | 2006-08-18 | CHILLER #1 INOP - WON'T START | 2006-08-18
| 153274 | 2006-09-05 | CHILLER #2 INOP - WON'T START | 2006-09-05
| 153340 | 2006-09-25 | CHILLER INOP - NOT RUNNING | 2006-09-25
| 160014 | 2006-10-02 | CHILLER #3 INOP | 2006-10-03
| 160063 | 2006-10-10 | W UNLOADING DOCK: WATER DRIPPING ON ELECTRICAL PANEL | 2006-10-10
| 160118 | 2006-08-30 | CHILLER #2 WILL NOT START | 2006-08-30
| 160140 | 2006-10-17 | FAN MOTOR BURNED UP ON AHU | 2006-10-17
| 161117 | 2007-02-05 | REPAIR ROOF DRAIN | 2007-02-05
| 161606 | 2007-03-27 | SEVERAL ROOF LEAKS - MAIN ONE OVER STAGE | 2007-03-27
| 161620 | 2007-03-28 | BASEMENT: WATER LEAK | 2007-03-28
| 161679 | 2007-04-03 | WATER IN BASEMENT | 2007-04-03
| 161682 | 2007-04-04 | REPAIR SEVERAL ROOF LEAKS | 2007-04-04
| 161838 | 2007-04-24 | (2) ROOF LEAKS | 2007-04-30
| 161953 | 2007-05-02 | ROOF LEAKS | 2007-05-02
| 161984 | 2007-05-03 | REPAIR ROOF DRAINS | 2007-05-03
| 162014 | 2007-05-08 | CHECK ALL SUMP PUMPS FOR STAGE LIFT AREA | 2007-05-08
| 162170 | 2007-05-25 | BUILD ENCLOSURE | 2007-06-26
| 162371 | 2007-06-14 | INSPECT ELEVATOR (3) REPAIRS | 2007-06-19
| 162736 | 2007-07-23 | SUB BASEMENT FLOODING | 2007-07-23
| 162752 | 2007-07-24 | INSTALL BASEMENT CLEAN OUT COVER | 2007-07-24
| 163180 | 2007-09-07 | PUMP OUT FREIGHT ELEVATOR BASEMENT | 2007-09-10
| 170183 | 2007-10-19 | ADD DAMPER TO OUTSIDE AIR | 2007-11-01
| 170951 | 2008-01-23 | CHECK OPERATION OF SUMP PUMPS | 2008-01-24
| 171861 | 2008-04-21 | REBUILD STORM CELLAR SUMP PUMP SYSTEM | 2008-04-21
| 172263 | 2008-06-03 | REPAIR SPRINKLER LEAK | 2008-06-03
| 172351 | 2008-06-12 | GALLERY ART SIDE: NO HOT WATER | 2008-06-12
| 251418 | 2006-03-16 | THERMO SCAN | 2006-03-23
| 251429 | 2006-05-22 | FREON FIESTA- CHILLER #1 | 2006-06-13
| 261393 | 2007-04-04 | BASEMENT: INSTALL SUMP PUMP | 2007-04-05
| 261394 | 2007-04-04 | TV STORM DRAINS--CANCELLED | 2022-02-02
| 261428 | 2006-10-25 | PM ROOF | 2007-03-01
| 261479 | 2007-09-13 | MUDJACK SIDEWALKS | 2007-09-13
| 261486 | 2007-05-04 | REFURBISH STAGE ELEVATOR | 2008-02-05
| 261488 | 2007-03-26 | REPAIR FREIGHT ELEVATOR | 2007-03-26
| 271398 | 2007-11-08 | REFURBISH STAGE ELEVATOR | 2008-02-05
| 271406 | 2008-01-31 | REBUILD SEWER EJECTION SYSTEM | 2008-02-06
| 271475 | 2008-07-30 | PM ROOF | 2008-09-17
| 281355 | 2008-10-15 | PM ROOF | 2008-12-30
| 291388 | 2009-10-26 | PM ROOF | 2010-04-26
| 350031 | 2005-10-27 | CHILLER LEAKING | 2005-10-27
| 440303 | 2005-05-09 | REPAIR CHILLER | 2005-05-18
| 541370 | 2004-11-02 | HVAC PM | 2004-11-02
| 570798 | 2007-10-01 | CHECK EQUIPMENT | 2008-06-12